## Slide 1: 1903 - SIMULATION OF ISLANDING IN DISTRIBUTION NETWORKS
Distribution Network
Dr. Attila KOVÁCS Astron Informatics Ltd., Hungary | Róbert GAÁL Astron Informatics Ltd., Hungary | János CSATÁR Budapest University of Technology, Hungary
+
-
Microgrid Regulator
Village
Farm
+
-
ANM Regulator
Case Study 1:
Maximizing the utilization of renewable energy in Microgrid OR island operation mode when the Microgrid behaves as a small energy system. (P-f, U-Q regulation)
Case Study 2:
Microgrid decreases the not supplied energy in the outaged part of network (Village, Farm)
Case Study 3:
In case of outages in high voltage network central mini power plant and battery supplies the medium voltage network and the Microgrid supports the Voltage – VAR regulation
Cooperation between DSO and Microgrid
Other Traditional Consumers
Central Battery
Mini renew.
Power Plant
Microgrid
HV/MV Substation
HV/MV Substation
HW network
Island 1
Island 2
Island 3

## Slide 2: 1903 - SIMULATION OF ISLANDING IN DISTRIBUTION NETWORKS
Dr. Attila KOVÁCS Astron Informatics Ltd., Hungary | Róbert GAÁL Astron Informatics Ltd., Hungary | János CSATÁR Budapest University of Technology, Hungary
Model of Microgrid
Case Study 1:
Maximizing the utilization of renewable energy in Microgrid OR island operation mode when the Microgrid behaves as a small energy system. (P-f, U-Q regulation)
Case Study 2:
Microgrid decreases the not supplied energy in the outaged part of network (Village, Farm)

## Slide 3: 1903 - SIMULATION OF ISLANDING IN DISTRIBUTION NETWORKS
Dr. Attila KOVÁCS Astron Informatics Ltd., Hungary | Róbert GAÁL Astron Informatics Ltd., Hungary | János CSATÁR Budapest University of Technology, Hungary
G
Generator
INPUT
OUTPUT
Solar panels
INPUT
OUTPUT
Water turb.
INPUT
OUTPUT
Wind turb.
INPUT
OUTPUT
Battery
INPUT
OUTPUT
Consumers
INPUT
OUTPUT
Simulation time
Signal distribution
Conditional Events
Scenarios
Simulator functions
Device models
Load-flow calculation
Simulator engine
P-f
modelling
Electrical calc. func.
Experimental setup, simulator architecture
per-phase, special load-flow
single-node effective power-frequency model
simulator engine for controlling model computations